Parts list for chaotic pendulum experiment

R. DeSerio

Department of Physics

University of Florida

Qt’y	Item				Supplier 	Part No.	Cost (ea.)	Total

Mechanical components:

1	Stepper motor/controller	Lin Eng’r’g	DO-4118L-06P   110		110

1	Power Supply			Lin Eng’r’g	PW100	150		150

I am currently using a Slo-Syn MO61 30 oz-in motor with a Tel-X-Ometer driver.  I have not tested the Lin Engineering combo, but it seems like it should work fine.  Other systems that can accept computer TTL pulses to single step a 200-pulses-per-revolution motor should also work.

A drive arm must be attached to the stepper motor shaft at one end and to a string at the other end. The length of drive arm should be adjustable from near zero to around 8 cm.  Various mounting rods and clamps, including a rod with small hole for guiding the drive string are also needed

1	Rotary encoder		Pasco		CI-6538	199		199

1	Chaos accessory		Pasco		CI-6689	99		99

Data acquisition components:

1	Counter/timer 			Nat’l Instr.	PCI-6601	329		329

1	1-m cable			Nat’l Instr	183432-01	129		129

1	Connector block		Nat’l Instr.	777145-01	79		79

You can either cut off the stereo phonojacks from the rotary encoder and wire to the connector block or buy and mount two female phonojack connectors and wire to them.

A computer with LabVIEW is also needed.